## Patch & Vuln
CIP-007 R2 Patch Management Tracker (35-day cycle)
GridPoint Energy (NCR11027) — Control Implementation ¦ ReliabilityFirst ¦ v1.0 ¦ 2026-03-02 ¦ BCSI // Illustrative
ID | BCS / Asset | Source | Evaluated (35-day) | Status | Mitigation Plan | Owner
PT-2603-01 | BCS-CC-01 EMS | Vendor + OS | Within 35 days | Applied | — | Bell
PT-2603-02 | BCS-CC-03 SCADA FE | Vendor | Within 35 days | Applied | — | Bell
PT-2603-03 | 8 Substation BCS firmware | Vendor | Within 35 days | Applied | — | Ruiz
PT-2603-04 | Historian (PCA) | OS | Within 35 days | Mitigating | MP-patch-04 (vendor delay) | Bell
PT-2603-05 | Intermediate System | OS | Within 35 days | Applied | — | Nair

## Vulnerability Assessment
CIP-010 R3 Vulnerability Assessments
GridPoint Energy (NCR11027) — Control Implementation ¦ ReliabilityFirst ¦ v1.0 ¦ 2026-03-02 ¦ BCSI // Illustrative
VA ID | Type | Scope | Frequency | Findings | Remediation | Status
VA-2026-01 | Paper VA | All 14 Medium BCS | 15 months | 3 Low config items | Remediated | Complete
VA-2026-02 | Active VA | (High only — N/A) | 36 months | N/A | N/A | N/A