## BES Asset Inventory
BES Asset Inventory
GridPoint Energy (NCR11027) — CIP-002 Categorization ¦ ReliabilityFirst ¦ v1.0 ¦ 2026-03-02 ¦ BCSI // Illustrative
Asset ID | Asset Name | Type | Voltage / Rating | Impact | CIP Scope | Owner
AST-CC-01 | Millbrook Primary Control Center | Control Center | — | Medium | In scope | Okafor
AST-CC-02 | Easton Backup Control Center | Control Center | — | Medium | In scope | Okafor
AST-GEN-01 | Millbrook Combined-Cycle | Generation | ~650 MW | Low | In scope | Okafor
AST-GEN-02 | Easton Combined-Cycle | Generation | ~700 MW | Low | In scope | Okafor
AST-GEN-03 | Cedar Falls Hydro | Generation | ~80 MW | Low | In scope | Okafor
AST-GEN-04 | Sunfield Solar | Generation | 220 MW | Low | In scope (new) | Ruiz
AST-SUB-M01..08 | 8 Medium Substations | Substation | 345 kV | Medium | In scope | Ruiz
AST-SUB-L01..34 | 34 Low Substations | Substation | 138 kV | Low | In scope | Ruiz
AST-SUB-D01..02 | 2 Distribution-only Substations | Substation | <100 kV | N/A | Out of scope (no BCS) | Ruiz