## Categorization Summary
CIP-002 Categorization — Summary
Impact Level | BES Cyber Systems | Notes
High | 0 | No asset meets Attachment 1 High criteria
Medium | 14 | 2 control centers (crit. 2.12) + 8 substations (crit. 2.5)
Low | 38 | 4 generation plants + 34 substations (CIP-003 Att.1 only)
TOTAL BCS | 52 | —
BCAs (~) | 420 | BES Cyber Assets
EACMS | 26 | Electronic access control/monitoring
PACS | 18 | Physical access control
PCA | 60 | Protected cyber assets

## BCS Categorization List
BES Cyber System Categorization List (grouped)
14 Medium + 38 Low = 52 BCS · 0 High · associated EACMS 26 / PACS 18 / PCA 60
BCS ID | BES Asset | Type | Impact | Attachment 1 Criterion | Associated | Owner
BCS-CC-01 | Millbrook Primary Control Center | Control Center | Medium | 2.12 (TOP/GOP functions) | EACMS,PACS,PCA | Okafor
BCS-CC-02 | Easton Backup Control Center | Control Center | Medium | 2.12 (TOP/GOP functions) | EACMS,PACS,PCA | Okafor
BCS-CC-03 | EMS/SCADA Front-End (Primary) | Control Center | Medium | 2.12 | EACMS,PCA | Bell
BCS-CC-04 | EMS/SCADA Front-End (Backup) | Control Center | Medium | 2.12 | EACMS,PCA | Bell
BCS-SUB-01 | Northgate 345 kV Substation | Substation | Medium | 2.5 (345 kV, 3+ connections) | EACMS,PACS,PCA | Ruiz
BCS-SUB-02 | Riverton 345 kV Substation | Substation | Medium | 2.5 | PACS,PCA | Ruiz
BCS-SUB-03 | Fairview 345 kV Substation | Substation | Medium | 2.5 | PACS,PCA | Ruiz
BCS-SUB-04 | Lakeside 345 kV Substation | Substation | Medium | 2.5 | PACS,PCA | Ruiz
BCS-SUB-05..08 | 4 add'l 345 kV Substations | Substation | Medium | 2.5 | PACS,PCA | Ruiz
BCS-GEN-01 | Millbrook CC Plant | Generation | Low | Low (no Med/High) | — | Okafor
BCS-GEN-02 | Easton CC Plant | Generation | Low | Low | — | Okafor
BCS-GEN-03 | Cedar Falls Hydro | Generation | Low | Low | — | Okafor
BCS-GEN-04 | Sunfield Solar (220 MW, new) | Generation | Low | Low (interim review triggered) | — | Ruiz
BCS-LOWSUB-01..34 | 34 Low-impact Substations | Substation | Low | Low (CIP-003 Att.1) | — | Ruiz